## Price List
| Services offered through BSE WQL Cost Center | Prices effective April 11, 2018
Services require at least two week's notice before samples are brought to lab.
|  |  |  | Internal Rate |  | External Rate
Code | Analysis | Concentration Range | Detection Limit | Assisted | Unassisted |  | Detection Limit | Reporting Limit | Instrument range
WQL17 | pH | 0 - 14 | 0.1 | 3.08 | 1.11 | 4.96
WQL02 | Conductivity | 0 - 2000 | 0 | 2.84 | 0.86 | 4.57
WQL22 | Total Suspended Solids (TSS) | 0 - 100 g | 0.01 g | 3.95 | 3.35 | 6.36
WQL28 | Bacterial Quantification (Total Coliform and E.coli) | 2419 mpn | 1 mpn | 8.75 | 7.29 | 14.09
WQL13 | Ion Analysis of Water (Anions or Cations)* | 0 - 2,000 uM | at least 0.2 mg/L | 3.15 | 1.53 | 5.07
WQL01 | Total Nitrogen (TN) | 0 - 6.5 mg/L as N | 0.10 mg/L as N | 3.88 | 3.11 | 6.25 | 0.05 uM | 0.25 uM | 0-464 uM
WQL21 | Total Phosphorus (TP) | 0 - 17 mg/L as P | 0.02 mg/L as P | 3.47 | 3.07 | 5.59 | 0.04 uM | 0.22 uM | 0-550 uM
WQL14 | Ammonium (NH4+) | 0 - 4.2 mg/L as N | 0.05 mg/L as N | 3.48 | 3.12 | 5.6 | 0.29 uM | 1.47 uM | 0-300 uM
WQL31 | Nitrate+Nitrite (NO3-+NO2-) or Nitrite only (NO2-) | 0 - 6.5 mg/L as N | 0.05 mg/L as N | 3.78 | 3.08 | 6.09 | 0.05 uM | 0.25 uM | 0-464 uM
WQL16 | Orthophosphate (PO43-) | 0 - 17 mg/L as P | 0.02 mg/L as P | 2.98 | 2.62 | 4.8 | 0.02 uM | 0.11 uM | 0-550 uM
WQL34 | Carbon Analysis (NPOC, IC, TC) | 0 - 100 mg/L C | 0.04 mg/L C | 2.98 | 2.92 | 4.8 |  |  | 0-30,000
WQL32 | Carbon Isotope (d13C) | NA | NA | 2.7 | 2.64 | 4.35
WQL33 | Elemental Analysis (%C, %N) | 0 - 100% | NA | 3.97 | 3.87 | 6.39
WQL36 | Metals Prep (for Soils lab) | NA | NA | 4.21 | 1.3 | 6.78
WQL37 | Alkalinity | NA | NA | 2.26 | 1.36 | 3.64
| *Anions: F, Cl, NO3, SO4 |  |  | WQL performs analysis
| *Cations: Ca, Mg, K, Na |  |  |  | User is trained and performs own analysis. Available for some situations.
Samples from non-VT labs